## Disclaimer
Disclaimer
The 2024 ISP Assumptions Workbook contains data provided by or collected from third parties,
and conclusions, opinions, assumptions or forecasts that are based on that data.
AEMO has made reasonable efforts to ensure the quality of the information in this publication but cannot
guarantee that information, forecasts and assumptions are accurate, complete or appropriate for your
circumstances.
Modelling work performed as part of preparing this publication inherently requires assumptions about future
behaviours and market interactions, which may result in forecasts that deviate from future conditions. There
will usually be differences between estimated and actual results, because events and circumstances
frequently do not occur as expected, and those differences may be material.
This publication does not include all of the information that an investor, participant or potential participant in
the National Electricity Market might require, and does not amount to a recommendation of any investment.
Anyone proposing to use the information in this publication (which includes information and forecasts from
third parties) should independently verify its accuracy, completeness and suitability for purpose, and obtain
independent and specific advice from appropriate experts.
Accordingly, to the maximum extent permitted by law, AEMO and its officers, employees and consultants
involved in the preparation of this publication:
• make no representation or warranty, express or implied, as to the currency, accuracy, reliability or
completeness of the information in this publication; and
• are not liable (whether by reason of negligence or otherwise) for any statements, opinions, information
or other matters contained in or derived from this publication, or any omissions from it, or in respect of
a person’s use of the information in this publication.

## Change Log
Version History
Version Number | Date | Description
1 | 2019-02-05 | First industry release of draft 2019 market modelling assumptions for consultation.
1.1 | 2019-08-16 | Scenarios tab updated with final 2019-20 modelling scenarios settings
Existing and committed generator lists reflect the 8th August release of Generation Information.
Minimum stable levels and capacity constraints have been updated in the "Generation limits" sheet
Forced outage rates have been updated consistent with the ESOO 2019.
Coal prices have been updated to reflect Wood Mackenzie's final 2019 forecast for AEMO.
Updated closure dates to those submitted by generators in the 8th August release of Generation Information
Fixed O&M cost for existing OCGT's has been changed to correct an error in previous version.
Offshore Wind has been included as a build candidate in the Gippsland REZ.
Included Snowy 2.0 and Battery of the Nation in the "Storage properties" sheet.
Demand forecasting components reflect DRAFT 2019 forecasts. Final forecasts will be available from http://forecasting.aemo.com.au upon publication of the ESOO.
Corrected Pumped Hydro connection costs, as these costs are included in the build costs.
Capacity factors are now available for all available reference years.
WACC updated following consultation feedback.
Charge and Discharge efficiency has been added to the "Storage properties" sheet
Economic and Technical life of Pumped Hydro and Batteries have been corrected after being mislabelled in the previous version
Summary sheets have been added for Demand, Existing Generator Data, New Entrant data, Fuel Prices and Regional Build costs
Technology specific regional cost factors have been included
Hydro inflows and hydro inflow factors added
The following candidate Renewable Energy Zones have been added: • Wide Bay (QLD) • Wagga Wagga (NSW) • Central North Vic (VIC) The following modifications have occurred: The former Northern New South Wales Tablelands and New England REZs have been joined and redrawn • The former Central New South Wales Tablelands and Central West New South Wales REZs have been joined and redrawn • The former Murray River REZ was split into two separate zones and redrawn • The Gippsland REZ in Victoria was expanded to include off-shore wind capability. • The former Moyne REZ was expanded to include a greater area of South West Victoria. • Tasmanian REZs were refined to focus on areas with observed generator connection interest.
The Interconnector capability has been changed to reflect operational and planning updates.
Interconnector augmentation options have been updated to reflect best information from TNSPs and AEMO.
Generator operating limits and behaviours have been updated to reflect latest data and technical information.
Resource limits have been revised to reflect updated methodology. See section 5.4.2 in 2019 Planning and Forecasting Consultation responses on Scenarios, Inputs, Assumptions and Methodology.
REZ expansion costs, Network Capacity, and Additional Network Capacity with IC augmentations have been updated following additional work to refine expansion options for specific REZ, and in consultation with stakeholders.
Shadow generators for committed and candidate generators have been updated based on review and new options (given new generation has been commissioned).
1.2 | 2019-09-13 | Labels have been updated to $/kW for all technologies in the Build Cost sheet to reflect reported values.
Mount Emerald Wind farm was incorrectly listed as a NSW generator in the 'Summary Mapping' sheet, this has been corrected to QLD.
VIC to NSW forward direction was incorrectly labelled as VIC to SA forward direction. Note 4 in 'Augmentation options' sheet has been corrected.
AC network expansion of VIC-TAS Second IC Option 1 and 2 in 'Augmentation options' sheet has been clarified.
Corrected MLF shadow connection point for Cattle Hill and North West Tas Solar and Wind Candidates
Updated Seasonal Ratings to reflect August release of Generation information for Murra Warra Wind Farm – stage 1 and Lincoln Gap Wind Farm – stage 1
Updated Max Capacity to reflect August release of Generation information for Bogong / Mackay, Trevallyn, Oakey Power Station, Berrybank Wind Farm, Capital Wind Farm, Lake Bonney 1 Wind Farm, Starfish Hill Wind Farm, Wattle Point Wind Farm, Challicum Hills Wind Farm, Mortons Lane Wind Farm, Mt Gellibrand Wind Farm, Portland Wind Farm, Yaloak South Wind Farm and Gannawarra Energy Storage System.
A note has been added to the "Existing Gen Data Summary" that the expected retirement date in this summary sheet is indicative of the first unit's retirement date.
Additional VIC-TAS options included in Augmentation Options work sheet. Split VIC-NSW augmentation options to consider HumeLink separately, and removal of option 11. Correction of typo in Note 4 in Augmentation Options work sheet. Updated proportioning factors work sheet including revision to interconnector augmentation options. Included new interconnector options in build limits information.
The New South Wales government has advised AEMO that development in the Southern NSW Tablelands (N4) REZ is to be precluded due to poor community support and high quality agricultural land. As advised, development in other areas of New South Wales would be more conducive to substantive development of renewables.
Updates to the 'Build Limits' sheet to reflect revised HumeLink and VNI augmentation approach.
Updated Millmerran unit MPP_1 Minimum stable level value in the 'Generation Limits' sheet.
Hydro climate factors updated to present specific factor trajectory for Tasmania
Added note to; Augmentation Options, Firm Capacity, Max Capacity, Seasonal Ratings sheets - "With the introduction of MarinusLink, the capacities of the following generators increase by: 100 MW across the west coast, 130 MW for Tarraleah and 90 MW capacity for Gordon."
Note added to Seasonal Rating: "Tamar Valley CCGT seasonal rating is based on being in a mothballed state. This unit can be recalled and may be explored in sensitivity analysis."
Updated calculation for PV uptake percentage for Demand Input Summary sheet.
Revised shadow MLF from Regional Reference Node to 1.0 for a number of projects.
Maximum demand has been updated to align PV generation with battery charging. Also, LIL in South Australia has increased.
Revised Electric Vehicle proportioning factors due to rounding errors.
Updated Tamer Valley CCGT FOM based on stakeholder feedback
Revised retirement and refurbishment dates for CS Power Stations based on stakeholder feedback.
Hydro Inflows update to capture historical observations for the Snowy scheme.
1.3 | 2019-12-12 | Waubra and Yambuk wind farm retirement dates corrected to capture 30 year technical life based on generic wind farm parameters.
Heat rate sheet updated to include "sent-out" note.
Added additional interconnector options QNI 2E and QNI 3E on Augmentation options and Proportioning factors
Revision of QNI Option 3D - Wollar used in place of Bayswater
Revision of VIC-NSW Option 5A - additional South Morang Transformer and cut in of Rowville-Thomastown 220 kV at South Morang, and change to Indicative Cost.
Revision of VIC-NSW Option 6 - location of powerflow controllers updated
Revision of VIC-NSW Option 7 - location of powerflow controllers updated
Revision of VIC-NSW Option 8 - location of powerflow controllers updated
Revision of VIC-NSW Option 11
Update of Build Limits Tab to reflect new IC options QNI 2E and 3E, update on EnergyConnect's impact on Riverland REZ
Update of Build Limits Tab to reflect group constraints for QLD
Update of Build Limits Tab to reflect additional capacity in V2 provided by VNI Option 8
Update to Electric Vehicles sheet to include % of fleet values for Residential, Vehicle to Home
Update to cost estimates to reflect latest advice from TNSPs on Augmentation options tab
Update of Energy Consumption tab for Operational Consumption as Sent-Out and Underlying Consumption.
1.4 | 2020-04-17 | Proportioning Factors tab: Update loss proportioning factors to include upgrade option QNI 2E.
Build Limits tab: Reduced cost/MW as a result of committed project for S8 (Eastern Eyre Peninsula)
Build Limits tab: Changed the Cost/MW for S6 and S7 (Leigh Creek) as a result of group constraint for S3 (Mid North SA) as well as dual pole changed to tower
Build Limits tab: Moved 500 MW capacity from Southern NSW tablelands to Wagga Wagga for HumeLink
Build Limits tab: Updated Riverland REZ from 1000 MW capacity gain for SA-NSW interconnector to 800 MW.
Build Limits tab: Solar resource capacity for V2 was increased as previously was not reflective of true interest in the area
Build Limits tab: Updated QLD REZ build limits to reflect calculation done in the MM
Build Limits tab: Updated Q1 cost/MW to remove small build uprate Woree 132 kV network to 275 kV network, as no longer considered feasible by Powerlink
Build Limits tab: Update N4 to have no cost/MW associated as no extra generation is allowed in the zone
Build Limits tab: Updated costing for TAS Midlands and North West - updated REZ capacity increase for MarinusLink for these two REZ zones too as per advice received from TasNetworks
Build Limits tab: Western Eyre, Eastern Eyre, Mid-North and Northern SA cost/MW changed to reflect costing for towers not dual pole
Build Limits tab: Yorke Peninsula cost/MW increased
Build Limits tab: South West Victoria cost/MW increased to accommodate 500 kV line from Moorabool to Sydenham
Build Limits tab: Central West transmission build limit decreased from 700 MW to 500 MW to account for newly committed generation
Build Limits tab: Mid North SA PV resource limit increased to 1300 MW to reflect updated generation information
Build Limits tab: Increase Central West Build Limit to 3000 MW to incorporate the NSW state government policy
Augmentation options tab: Increase transmission cost and REZ build costs
Augmentation options tab: Marinus Link cost estimate updated as per TasNetworks' advice on 28/02/2020.
Augmentation options tab: QNI options 2E, 3E and 3D limits changed.
Augmentation options tab: VNI Option 11 HVDC limits and cost estimates updated.
Update to Generation Information based on the 26th February release of Generation Information: •Added new Committed Projects (Goonumbla Solar Farm, Crudine Ridge Wind Farm, Gangarri Solar Farm, Lake Bonney BESS1) •Added Anticipated Projects (Berrybank Wind Farm - Stage 2, Murra Warra Wind Farm - Stage 2, Broadsound Solar Farm, Cape York Battery Power Plant - Storage, Cape York Battery Power Plant - Solar, Collector, Gunnedah Solar Farm, Metz Solar Farm, Suntop Solar Farm) •Update to Commission Dates and Installed Capacity of Committed Projects •Update to Expected Closure Dates •Update to Seasonal ratings •Update of Site Names
Renewable Policy Targets tab: Added TRET and edited VRET to apply to all scenarios
Scenarios policy tab: Added TRET and edited VRET to apply to all scenarios
Build Costs tab: updated to be based on draft CSIRO GenCost 2019-20
Renewable Energy Zones tab: V6 cost increased from medium to high based on consultation feedback
Generation Limits tab: Edited description following consultation feedback
Augmentation options tab: QNI Minor (Option 1A) now committed, removed alternative QNI Minor options from workbook.
Augmentation options tab: Update interconnector options for QNI 2E/3E/3D to reflect a terminal station at Boggabri rather than Gunnedah/Narrabri.
Augmentation options tab: Update to Option 3D and 2E on Augmentation tab: removed cut-in for second Bayswater-Mt Piper 500 kV line at Wollar (this is no longer included in QNI augmentation cost).
Augmentation options tab: VNI-NSW Option 11 (HVDC option between Victoria and New South Wales) included.
Augmentation options tab: Updated earliest service date for augmentation options to reflect latest into from TNSPs and potential for expedited processes in some scenarios. Estimates for inter-network testing have been incorporated into the timing (network capacity may be released in stages).
Augmentation options tab: Removed HVDC alternative for HumeLink to reflect latest outcomes from the RIT-T.
Max capacity and related tabs: Added MacIntyre Wind Farm to Anticipated projects
1.5 | 2020-07-30 | Build Limits tab: Changed footnote on Pumped Hydro Build limits to reflect updated approach.
Augmentation options tab: Added technical details for VIC-NSW Option 11.
Augmentation options tab: Minor wording changes to clarify options for VNI Option 1, QNI Option 3C, QNI option 2E.
Augmentations option tab: Power flow controller on Bannaby-Sydney West 330 kV line is removed from HumeLink for consistency with Transgrid's HumeLink PADR.
Augmentations option tab: Second 500/330 kV transformer at Wagga is removed from VNI Option 6, 7 and 8. This has been included with HumeLink option.
Augmentations option tab: Note 13 included in relation to SA-NSW option.
Additional Tab added: Interconnector representation. This describes how the interconnectors are represented in the capacity expansion models
Additional Tab added: Transmission component costs – this describes the unit costs for transmission build used in cost estimates.
Updated REZ name Central West NSW to Central-West Orana throughout workbook.
Augmentations option tab: Updated SA-NSW to reflect new terminal station at Bundey,
Augmentations option tab: Updated descriptions for VNI 6 and VNI 7 to reflect the new terminal station north of Ballarat
Build costs tab: deleted the repeated build cost table from CSIRO GenCost 2019-20
Additional Tab added: CCGT Unit Maximum Capacity. This tab provides the maximum capacity (MW) of CCGT gas and steam turbines separately.
Additional Tab added: GPG_Min Stable Level. This tab provides the minimum operating levels (MW) for large GPG units.
Additional Tab added: Max Ramp Rates. This tab provides the maximum rates of change (MW/min) for thermal unit output up and down.
Additional Tab added: Min Up&Down Times. This tab provides the minimum time (h) online or offline for large GPG units.
Additional Tab added: Complex Heat rates. This tab provides parameters to produce heat rate curves for thermal units.
Additional Tab added: Start Cost of GPG. This tab provides the notification time (h) and start up costs ($/MW) for CCGTs and gas-powered steam turbines.
Minimum capacity factor information provided for GPG units, represented in the DLT model
Additional clarity provided on TRET and VRET implementation
2.0 | 2020-09-01 | Demand forecast tabs (orange): Updated to reflect 2020 ESOO consumption and demand forecast
Gas and Liquid fuel price tab: Update Gas prices based on December 2019 Core Energy Gas price outlook
Build Costs tab: updated to be based on CSIRO GenCost 2019-20 final report
Maximum capacity tab: Updated based on July 2020 GenInfo
Firm capacity tab: Updated based on July 2020 GenInfo
Seasonal ratings tab: Updated based on July 2020 GenInfo
Fixed OPEX tab: Updated based on July 2020 GenInfo
Variable OPEX tab: Updated based on July 2020 GenInfo
MLF tab: Updated based on July 2020 Marginal loss factors
Carbon Budgets tab: Carbon budget updated for the period 2021 to 2050 (financial years ending)
Scenarios tab: Updated with 2020 modelling scenarios settings - Large-scale renewable build cost trajectories
Data correction for heat rate curves.
Australian dollars have been updated from $ 2019 to $ 2020 using All groups CPI index values - June 2020 from the Australian Bureau of Statistics at https://www.abs.gov.au/AUSSTATS/abs@.nsf/Lookup/6401.0Main+Features1June%202020?OpenDocument
Auxiliary tab: Auxiliary Load for existing, committed and anticipated generators updated based on July 2020 GenInfo
Generator Reliability Settings tab: Updated outage data for existing units based on 2020 ESOO
Gas infrastructure updated to reflect the 2020 GSOO information (with costs scaled to Real June 2020)
2.1 | 2020-11-27 | Seasonal ratings tab: Update to clarify Temporary Generation South summer availability assumption to align with 2020 ESOO.
2.2 | 2020-12-11 | Assumptions Summary tab: Added additional data source for emissions
Maximum capacity tab: Commissioning date and installed capacity corrections
Seasonal ratings tab: Data correction for Cullerin Range Wind Farm
Retirement tab: Minor data corrections
Fixed OPEX tab: Data correction for various CCGTs, OCGTs, Reciprocating engines and Gas-powered ST units
Variable OPEX tab: Data correction for various CCGTs, OCGTs, Reciprocating engines and Gas-powered ST units
Emissions tab: Data correction for various CCGTs, OCGTs, Reciprocating engines and Gas-powered ST units
3 | 2020-12-11 | New Tab: Scenarios (New) - describes proposed new scenarios for 2021-22 forecasting and planning activities.
Renewable Energy Zones tab: Added new Q9 Banana REZ. Removed N4 - Southern NSW Tablelands. Renamed T3 (Central Highlands) to Central Highlands. Boundaries for N6 (Wagga) and T3 (Central Highlands) adjusted.
Scenario Policy Settings: Updated with policy settings for the new proposed scenarios
Renewable Policy Targets: Updated renewable policy targets with latest legislation / data
Carbon Budgets: Updated carbon budgets for new proposed scenarios, derived by scaling down SSP/RCP global emission pathways to a NEM level
Gross State Product: Updated to reflect 2020 Covid-19 updated economic forecasts from BIS Oxford
New Tab: Household Disposable Income - contains 2020 Covid-19 updated economic forecasts from BIS Oxford
Network Capability tab: Revised reflect proposed zonal model.
Proportioning Factors tab: Updated to reflect proposed zonal model
Transmission Component costs tab: Updated costs to 30 June 2020 real dollars.
Updated to Generation Information based on November 2020 release of Generation Information: •Added new Committed Projects •Update to Commission Dates and Installed Capacity of Committed Projects •Update to Expected Closure Dates •Update to Seasonal ratings
Build Costs: Updated based on draft CSIRO GenCost 2020-21
Connection Costs tab: Updated costs to 30 June 2020 real dollars. Addition of system strength mitigation costs.
Build Limits tab: REZ resource limits updated to take into account recently committed generation. Group constraint table added. Transmission limits and expansion costs updated to 30 June 2020 real dollars. System Strength costs added. REZ resource limit violation penalty factor added.
Build Limits tab: Export Superpower scenario REZ expansion costs added. Updated impacts of interconnector upgrades on REZ capacities.
New tab: Power System Security constraints
Capacity Factors tab: updated capacity factors for most recent REZ locations and renewable resource data
Financial parameters tab (formerly WACC): updated discount rate and WACC based on latest assumptions, added VCRs
Updated New entrants technical parameters based on Aurecon 2020 AEMO costs and technical parameter review. Tabs: Seasonal rating, Maintenance, Generator Reliability Settings, Lead time, Storage properties, Heat rates, Auxiliary, Fixed OPEX, Variable OPEX, Emissions
Coal and Biomass price tab: Updated Coal Prices based on 2020 coal price forecast by Wood Mackenzie.
Gas and Liquid fuel price: updated based on data from Lewis Grey Advisory
MLF tab: Updated to reflect latest information
Heat Rate & Complex Heat Rate tabs: Updated Heat Rates for new entrant technologies based on 2020 Aurecon data
GPG Minimum Stable Level tab: Updated MSL for new CCGTs and OCGTs based on 2020 Aurecon data. These are now presented as a percentage of nameplate capacity
Gas Infrastructure tab: updated to reflect most recent information gathered for 2021 GSOO
Pipeline Transmission Tariffs tab: updated to reflect most recent information available
Gas Reserves and Resources tab: updated with 2020 Wood Mackenzie data
Gas Production Costs tab: updated with 2020 Wood Mackenzie data
Gas Expansion Candidates tab: updated to reflect most recent information available
Regional Costs - Hydrogen techs tab: regional costs added
Build Costs - Hydrogen techs: build costs added.
Hydrogen demand tab: demand projections added
Other assumptions - Hydrogen techs tab: various other hydrogen-related assumptions added
New tab: 'Transmission Reliability'
3.1 | 2021-07-31 | Major update for Finalisation of 2021 IASR. Updated to June 2021 $.
Scenario details revised for new scenarios.
Renewable Energy Zones: Updated for new REZs, including offshore wind zones.
Renewable Policy Targets: Updated with latest available policy information.
Carbon Budgets: Updated with new data based on CSIRO multi-sectoral modelling.
Demand and energy forecast inputs, including DER: Updated for latest consultancies and inputs, and to include sub-regional allocation.
Network capabilities, parameters and augmentations: Updated to reflect latest augmentation options and costs, seasonal transmission limits, loss factors and outage rate assumptions.
Generation technical assumptions: Updated based on latest Generation Information page. Generation limits revised to reflect ISP Methodology. Reliability settings updated based on latest assumptions for the 2021 ESOO. Minor other updates such as updated emissions factors to reflect recent observations.
Generation cost assumptions: Updated to reflect latest CSIRO projections as well as other updates to operating and maintenance assumptions. Removed refurbishment costs as now included in annual FOM. Updated regional cost factor assumptions.
Build Costs: The Hydrogen Export scenario assumes faster capital cost reductions for large-scale Solar PV than the High VRE GenCost scenario, as a key enabler of hydrogen expansion for export.
Build limit assumptions: Revised REZ limits for updated REZ assumptions. New tab added with revised pumped hydro limits. Additional tabs added for REZ Augmentation Options and Non-REZ assumptions.
Capacity factors: Revised for latest wind and solar production forecasts.
Lead time and project life: Minor updates including extending pumped hydro to 40-year economic life.
Financial parameters: Revisions to both discount rate and VCR based on consultation feedback.
Storage properties: Updated based on information provided by Tasmania and final assumptions from Aurecon 2020-21 AEMO costs and technical parameter review.
Fuel price assumptions: Minor updates to coal and gas prices.
Unit commitment-related assumptions: Minor updates to reflect latest available data.
Hydrogen assumptions: Updated to reflect final assumptions, added Hydrogen prices for hydrogen turbines, green steel demand.
Removed tabs: Scenarios (2020) (not needed), Firm capacity (refer to ISP Methodology), GPG Start Costs (refer to ISP Methodology), Energy Consumption and Maximum Demand (merged), Gross State Product and Household Disposable Income (merged), Transmission Cost Components (See Transmission Cost Database), Refurbishment (now included in FOM), Gas assumptions (see GSOO)
3.2 | 2021-08-10 | Corrected errors on the Aggregated energy storages and Embedded energy storages worksheets.
Minor corrections to Summary Mapping worksheet.
Added additional information on Project EnergyConnect loss functions.
Corrected transmission outage rate worksheet to refer to 'Liddell to Bulli Creek' rather than 'Liddell to Dumaresq'.
Revised the PEM Electrolyser Fixed OPEX to reflect Aurecon 2020-21 AEMO costs and technical parameter review assumption of 3% of capex.
Added additional details to the Battery & Plug-in EVs on the share of Vehicle-to-Grid charge profiles.
3.3 | 2021-12-10 | Changed scenario name for Net Zero 2050 to Progressive Change
Renewable Energy Zones: Updated OWZ O1 and O2 ISP sub-region locations to SNW and both REZ diagrams to refine the Central West Orana REZ shape based on information published by the NSW Government.
Existing Gen Data Summary: Added REZ Location column
Build limits tab: Corrected column name from 'REZ build limit' to 'REZ Network Transmission Limit'. Corrected N1, N2, S1, T1, T2, T3 and MN1 Transmission limits. Updated S3 and S5 REZ Network limits to reflect group constraints MN1 and NSA1, and not a need for separate network limits. Removed NQ3 limits to avoid duplication of the CNQ-SQ flow path. Updated NSW Hydrogen generic transmission cost to ensure that flow path upgrades are incorporated. Added tranche 2 and 3 transmission expansion costs. Additional detail added on land area constraints.
Augmentation Options tab: Updated VNI West (via Kerang) cost and description with data received from Transgrid (cost reduction due to parts of Project EnergyConnect being built at 500 kV). Updated VIC-SNSW Option 7, this option can be built with or without any VNI West option in place. Updated VIC-TAS Options 1 & 2 by removing combined limits of TAS to VIC direction of Basslink and Marinus Link (it can transfer full capacity of each of the links). Updated Project EnergyConnect with a double circuit 500 kV line from Dinawan to near Wagga Wagga, operating at 330 kV. Added a new VIC-SNSW Option 6A, this option can be built without VNI West (Kerang) option in place. Added CNSW-NNSW Option 6A and 6B (Option 6B includes line shunt reactors) for New England REZ. Added new options "H-Newcastle" and "H-Dapto" to provide access for REZs to supply ports in the Hydrogen scenario. Added to SNSW-CNSW Option 1 (HumeLink) a new double circuit 330 kV line from new Wagga Wagga substation to the existing Wagga Wagga substation (as per Transgrid's PACR published in July 2021). Changed description of capacity for CNSW-SNW option 2. Updated CQ-CNQ Option 1 description by replacing South West Queensland with Wandoan South.
REZ Augmentations Options: Updated description of N2 Option 2 REZ Augmentation to include 330kV line from Armidale to Lower Creek. Updated description of NQ2 REZ Augmentation to remove reference to Nebo-Bouldercombe. Added 330 kV Cooma-Monaro REZ build option. Added 500 kV option for Darling Downs REZ expansion. Added additional upgrade options for Central West Orana REZ.
Retirement: Changed Mount Piper retirement date to 2040 based on latest information in the October 2021 Generation Information release.
Carbon Budgets: Corrected the stated carbon budget horizon, from 2049-50 to 2050-51. This was a typographical error in the last version.
Added Torrens Island BESS to Existing Gen Data Summary, Fuel Price Summary, Maximum Capacity, Seasonal ratings, Retirement, Marginal Loss factors and Summary Mapping tabs.
Summary Mapping: Updated REZ Locations for existing, committed and anticipated VRE generators. Changed Mapping for BOTN - Cethana FOM and VOM to TAS Medium
Renewable Policy Targets: Updated to reflect new information on the VRET2 and the NSW Electricity Infrastructure Roadmap.
Network Capability: Updated network capabilities of SNSW – CNSW (Northern part of "VNI") and VIC – SNSW (Southern part of "VNI") flow paths representing Snowy 2.0 generation and pump load limits prior to HumeLink.
Augmentation Options tab: Adjusted Marinus Link cost to reflect 30 June 2021 real dollars, and combined early works costs into cable 1 costs.
3.4 | 2022-06-30 | Existing Gen Data Summary: Updated with new generators based on Feb 2022 GenInfo
Fuel Price Summary: Updated with new generators based on Feb 2022 GenInfo
New Entrant Data Summary: Additional note to reflect cost penalty factors applied to Q1 and Q2 generation to take into account declining MLFs
Build Limits: Minor corrections, inclusions of additional cost tranches, updated information for offshore wind zones, updated impact of major projects.
Renewable Energy Zones: Additional notes for clarity, new offshore wind zones.
Renewable Policy Targets: Updated NSW target to reflect updated committed and anticipated generation which reduces further development requirements.
Network Augmentation Options: Update Marinus Link costs and timings, update of PEC timing and other updates to transfer limits and impacts on REZ limits.
Network capability: Updated note 6 to include transfer limit increase from CNSW - SNW with a 700 MW SIPS battery scheme and Bannaby - Sydney West 330 kV line upgrade and included a table with committed project timing.
REZ Augmentation Options: Corrected metric for system strength cost from $/MW to $M/MW, included NQ2 option 2 augmentation
Marginal Loss Factor: Corrected wind and solar MLFs for N4 REZs and shadow connection point for N3_Solar REZ
Capacity Factors: Updated REZ wind capacity factors to reflect latest wind profiles used in modelling.
Maximum capacity: Updated based on Feb 2022 GenInfo
Seasonal ratings: Updated based on Feb 2022 GenInfo
Retirement: Updated based on Feb 2022 GenInfo
Summary Mapping: Updated with new generators based on Feb 2022 GenInfo
3.5 | 2022-08-31 | Existing Gen Data Summary: Updated with new generators based on July 2022 GenInfo
Fuel Price Summary: Updated with new generators based on July 2022 GenInfo, deleted 2020-2021 values to reflect latest gas price data, and updated scenario mapping for gas prices.
Economic Growth Forecasts: Updated with rebased forecasts using ABS FYE 2021 data
Energy Efficiency: Updated with rebased forecasts for 2021-22
PVNSG: Updated with rebased forecasts using 2021-22 actuals
Rooftop PV: Updated with rebased forecasts using 2021-22 actuals
DSP: Updated based on historical meter data analysis and information submitted to the DSP Information Portal in April 2022
Electrification: Updated with rebased forecasts for 2021-22
Battery and plug in EVs: Updated uptake and consumption due to rebasing of uptake data based on EVC numbers to end 2021
Aggregated Energy storages: Deleted Steady Progress to reflect current scenario collection
Sub-regional demand allocation: Deleted Steady Progress to reflect current scenario collection
Transmission Reliability: Updated based on latest assumptions for the 2022 ESOO
Proportioning factors: Updated loss equations, loss factor equations and proportioning factors for the current network to align with AEMO's 'Marginal Loss Factors: Financial Year 2022-23' publication.
Augmentation options: Updated Project EnergyConnect full capacity release date, consistent with the 2022 Final Integrated System Plan and advice from responsible transmission network service providers.
Maximum capacity: Updated based on July 2022 GenInfo
Seasonal ratings: Updated based on July 2022 GenInfo
Maintenance: Update for new entrant technologies based on Aurecon 2021-22 AEMO costs and technical parameters review.
Generator Reliability Settings: Updated for the existing technologies based on latest assumptions for the 2022 ESOO and for the new entrant technologies based on Aurecon 2021-22 AEMO costs and technical parameter review
Hydro Climate Factor: Deleted Steady Progress to reflect current scenario collection
Build costs: Updated based on Final CSIRO GenCost 2021-22
Regional Cost Factors: Updated based on based on Aurecon 2021-22 AEMO costs and technical parameter review
Lead time and project life: Updated based on based on Aurecon 2021-22 AEMO costs and technical parameter review
Storage properties: Updated based on based on Aurecon 2021-22 AEMO costs and technical parameter review
Coal and Biomass price: Deleted Steady Progress from scenario mapping
Gas, Liquid fuel, H2 price: Gas prices updated based on price forecasts delivered by Lewis Grey Advisory for the 2022 GSOO
Retirement: Updated based on July 2022 GenInfo
Heat rates - Update for new entrant technologies based on Aurecon 2021-22 AEMO costs and technical parameters review, and existing based on July 2022 GenInfo
Auxiliary: Updated auxiliary rates of existing generators based on latest assumptions for the 2022 ESOO / Update for new entrant technologies based on Aurecon 2021-22 AEMO costs and technical parameters review.
Fixed OPEX - Update for new entrant technologies based on Aurecon 2021-22 AEMO costs and technical parameters review, and existing based on July 2022 GenInfo
Variable OPEX: Update for new entrant technologies based on Aurecon 2021-22 AEMO costs and technical parameters review.
Emissions intensity: Update for new entrant technologies based on Aurecon 2021-22 AEMO costs and technical parameters review, and existing based on July 2022 GenInfo
Marginal Loss Factors: Updated to reflect latest information
Affine Heat rates: Update for new entrant technologies based on Aurecon 2021-22 AEMO costs and technical parameters review.
GPG Min Stable level: Update for new entrant technologies based on Aurecon 2021-22 AEMO costs and technical parameters review.
Build Costs - PEM: Updated based on Final CSIRO GenCost 2021-22
Other hydrogen assumptions: Updated the PEM Electrolyser Fixed OPEX based on Aurecon 2021-22 AEMO costs and technical parameter review
Summary: Updated based on GenInfo 2022 / Aurecon 2021-22 AEMO costs and technical parameters review
New version 4.0 supporting the Draft 2023 IASR
4 | 2022-12-16 | Scenarios: Updated with proposed scenarios in Draft 2023 IASR
Renewable Energy Zones: Updated to include new offshore wind renewable energy zones and revised boundaries. Inclusion of N9 - Hunter Central REZ and T5 - North East Tasmania Coast.
Existing Gen Data Summary: Updated with new generators based on November 2022 GenInfo
New Entrant Data Summary: Updated with new ISP sub-regions and reflecting updated new entrant technologies
Fuel Price Summary: Updated with new generators based on November 2022 GenInfo, and updated scenario mappings.
Regional Build Costs Summary: Reflects updated new entrant technologies
Renewable Policy Targets: Updated to reflect latest QRET, VRET, added the Victorian Energy Storage Target, and updated trajectory of NSW Electricity Infrastructure Roadmap.
Carbon budgets: Updated carbon budgets based on latest multi-sectoral modelling commissioned from the CSIRO and ClimateWorks Centre.
DSP: Initial year forecast shown based on ESOO 2022 projection. DSP as percentage of max demand forecast in future years shown based on the IASR assumptions. Once the new max demand forecasts are known in July 2023, the forecast will be provided in MW as well.
Economic Growth Forecasts: Update based on BIS Oxford Economics long term macroeconomic forecasts developed for AEMO in July 2022.
Energy Efficiency: Update based on 2022 forecasts developed by CSIRO and ClimateWorks Centre.
Rooftop PV: Updated rebased forecasts using updated actuals and new blended consultant forecasts
PVNSG: Updated rebased forecasts using updated actuals and new blended consultant forecasts
Battery and plug in EVs: Updated forecasts applying improved actuals data from new EV source data, and updated CSIRO forecasts
Fuel cell EVs:: Updated forecasts applying improved actuals data from new EV source data, and updated CSIRO forecasts
EV V2G: Updated forecasts applying improved actuals data from new EV source data, and updated CSIRO forecasts
Electrification: Update based on 2022 CSIRO's EV and Multi-sector studies.
Embedded energy storages: Updated rebased forecasts using updated actuals and new blended consultant forecasts
Aggregated energy storages: Updated rebased forecasts using updated actuals and new blended consultant forecasts
Sub-regional demand allocation: Subregional allocations will be finalised ahead of the Final 2023 IASR.
Network representation: Map of sub-regional representation updated include new sub-regions. New sub-regional flow paths added. Changes to load and generation representation in CQ-GG and CQ_NQ captured. Update regional topology for Victoria - New South Wales and Victoria to South Australia with Project Energy Connect.
Network losses: Proportioning Factors worksheet name changed to Network losses. For the existing interconnectors, loss and MLF equations presented as published in the 'Marginal Loss Factors: Financial Year 2022-23'. Intraregional losses for CQ-NQ and SQ-CQ added. VNI option 7 loss equations and MLF equations updated.
Network Capability: Transfer limits for new flow paths added. Uplifts of transfer limits with committed and anticipated projects added. Committed and anticipated project table with timing added. TAS-VIC interconnector transfer limit updated. Updated for the consideration of new sub-regions.
Augmentation options: Updated sub-regional model references. Updated Marinus Link and Basslink combined transfer limit. Updated additional REZ capacity for Humelink and VNI West Kerang
Maximum capacity: Updated based on November 2022 GenInfo and added QEJP pumped hydro candidates
Seasonal ratings: Updated based on November 2022 GenInfo and added QEJP pumped hydro candidates
Reserves: Changed minimum reserve levels in QLD, SA and TAS based on November 2022 Generation Information summer peak ratings.
Generation limits: Deleted new entrant coal minimum stable levels (on account of that technology no longer being an option) and max capacity factor constraints for coal
Maintenance: Updated new entrant technologies based on Aurecon 2022 AEMO costs and technical parameters review and added QEJP pumped hydro candidates
Generator Reliability Settings: Updated new entrant technologies based on Aurecon 2022 AEMO costs and technical parameters review and added QEJP pumped hydro candidates
Hydro Climate Factor: Updated scenario mappings
Build Costs: Updated with Draft CSIRO GenCost 2022-23, updated scenarios and added QEJP pumped hydro candidates
Regional Cost Factors: Updated with Aurecon 2022 AEMO costs and technical parameters review and latest new entrants
Connection Cost: Inclusion of additional REZs to tables. Removal of System Strength remediation cost from V2 and V3 based on Victorian RDP system strength projects
REZ Augmentations Options: Include new offshore REZs in table. Include new Group Constraint and Transmission Limit constraints in table. Removed NSA1 Option 1 as it is considered part of ElectraNet NCIPAP projects. Updated for new sub-regional model.
Build Limits: New group constraints added - SQ1, SWV1, NET1, new transmission limit constraints table added - SEVIC1, SWQLD1, new secondary REZ transmission limits table added - SWNSW1, V3-EAST, V3-WEST, N5 transmission limit adjusted to take into account updated N5 REZ generation mapping. Include table showing REZ transmission modifiers due to committed and anticipated network augmentations. For Tasmania T2 transmission limit was decreased to account for recent stability constraint binding outcomes and T3 transmission limit was reviewed based on historic line flows and ratings. NSA1 transmission limit increased to take into account ElectraNet NCIPAP upgrades. Resource limit violation penalty factor updated to 0.27$M/MW (CPI increase). Seasonal limits added to REZ transmission limits. New REZ N9 (Hunter Central Coast) and T5 (Tasmania East Coast) added. Offshore Wind Resource Limits split into Fixed and Floating capacities and updated based on land size.
Non-REZ Assumptions: Update to N0 land area to exclude areas now included in N9 (Hunter Central Coast REZ). Update of Resource Limit violation penalty factor to 0.27 $M/MW (CPI increase)
Power System Constraints: Updated the planning unit commitment requirements. These requirements will be applicable to the DLT and ST model
Capacity Factors: Updated to include 2021-22 reference year, new REZs and floating offshore wind. Solar thermal capacity factors have been recalculated using the new 15 hour storage configuration in Aurecon 2022.
Build limits - PHES: Adjusted limits in QLD, NSW and SA based on recent government policy announcements and developer proposals in November 2022 Generation Information, and added QEJP - Borumba and QEJP - Pioneer-Burdekin as a separate PHES category
Lead time and project life: Updated with Aurecon 2022 AEMO costs and technical parameters review and added QEJP pumped hydro candidates
Financial Parameters: Updated with latest discount rates and values of customer reliability.
Storage properties: Updated with Aurecon 2022 AEMO costs and technical parameters review and added pumped hydro properties for QEJP - Borumba and Pioneer-Burdekin
Gas, Liquid Fuel, H2 price: rebased liquid fuel price to real 2022 dollars. Updated H2 prices to latest outputs from MSM 2022.
Coal and Biomass price: rebased Biomass price to 2022 real dollars. Coal price: For export exposed using weighting of Woodmac 2021 prices and BIS 2022 export coal price. Non export exposed using Woodmac price
Retirement: Updated based on November 2022 GenInfo
Heat rates: Updated with Aurecon 2022 AEMO costs and technical parameters review
Auxiliary: Updated with Aurecon 2022 AEMO costs and technical parameters review and added QEJP pumped hydro candidates
Fixed OPEX: Updated with Aurecon 2022 AEMO costs and technical parameters review, rebased existing to real 2022 dollars
Variable OPEX: Updated with Aurecon 2022 AEMO costs and technical parameters review, rebased existing to real 2022 dollars
Emissions Intensity: Updated existing with NGER 2020-21 data, reduced emissions intensity for new entrant biomass generator to 20.8 kg/MWh to reflect DCCEEW estimates, updated new entrants with Aurecon 2022 heat rates, and added QEJP pumped hydro candidates
GPG emissions reduction - BioM: Added this new sheet which gives projected emissions reduction from GPG due to blending of biomethane into fuel gas based on CSIRO/CWA Multi-sector energy modelling (2022), and AEMO internal study.
Marginal Loss Factors: Updated to reflect latest information and sub-regional configuration.
Affine Heat rates: Updated for new entrant technologies based on Aurecon 2022 AEMO costs and technical parameters review.
Max Ramp Rates: Updated for new entrant technologies based on Aurecon 2022 AEMO costs and technical parameters review.
GPG Min Stable level: Updated for new entrant technologies based on Aurecon 2022 AEMO costs and technical parameters review.
Cost Summary - PEM: updated scenarios, updated technology cost breakdowns with Aurecon 2022 AEMO costs and technical parameters review data
Build Costs PEM: Updated with Draft CSIRO GenCost 2022-23, updated scenarios
Hydrogen demand - Domestic: Update based on 2022 forecasts developed by CSIRO and ClimateWorks Centre.
Hydrogen Monthly profiles: Added this new sheet which gives NEM monthly hydrogen consumption profiles
Hydrogen demand - Export&Steel: Update based on 2022 forecasts developed by CSIRO and ClimateWorks Centre.
Hydrogen export ports: Added additional Queensland ports
Other hydrogen assumptions: Updated with Aurecon 2022 AEMO costs and technical parameters review data and CSIRO, Multisector Modelling 2022 input assumptions
Summary Mapping: Updated with new generators based on November 2022 Generation Information and additional new entrant candidates based on new sub-regions, REZs and candidate technology list from Aurecon 2022.
5 | 2023-07-28 | 2023 IASR Assumptions Workbook release
All relevant tabs, updated to reflect July 2023 GenInfo.
All relevant tabs, removed QEJP projects from New Entrant tables.
All relevant tabs, updated to reflect latest set of scenarios.
Generation Limits, Heat Rates, Affine Heat Rates: Deleted Liddell which is now retired.
Hydro Scheme Inflows: Updated to include 2021 and 2022 inflows.
Max Ramp Rates: Updated to reflect recent changes in operator bids. Also corrected values for separated CCGTs.
Energy Policies: Renamed tab from Renewable Policy Targets: and updated to reflect 2023 IASR policies
Carbon Budgets: Updated with State-level carbon budgets
Sub-regional demand allocations: Percentage splits of different consumer energy resources by sub-region have been added
DSP: Initial year forecast updated to ESOO 2023 projection. DSP as percentage of max demand forecast in future years redone based on updated IASR assumptions. Once the new max demand forecasts are known in August 2023, the forecast will be provided in MW as well.
Economic Growth Forecasts: Update based on rebased Oxford Economics Australia long term macroeconomic forecasts developed for AEMO in July 2022.
Transmission Reliability: Split to show separate reclassification and single credible contingency values and updated with new values.
Generator Reliability Settings: Includes new outage classifications based on consultation on Reliability frameworks, rolled forward horizon and added new values.
Auxiliary: Update based on latest Generation Information.
Coal and Biomass price: rebased coal Biomass price to 2023 real dollars. Coal price: For export exposed using weighting of Woodmac 2021 prices and Oxford Economics Australia 2022 export coal price. Non export exposed using Woodmac price. (Note Liddell power station excluded as it is closed)
Hydrogen monthly percentage profiles: updated with new data
GPG emissions reduction: updated with new data
Hydrogen demand - Domestic: Updated forecasts, included lead times, added sub-regional splits
Hydrogen demand - Exports & Steel: updated forecasts, incorporated lead times
Hydrogen export ports: Updated map for REZ and offshore zones
Electrification: Update based on latest LIL development plans; Electrification alternatives sensitivity based on Step Change with reduced pace of industrial electrification
Energy efficiency: Update based on 2023 forecasts developed by Strategy Policy Research (SPR)
Biomethane prices added in $2023 dollars on tab gas, liquid, H2 prices
Battery and plug in EVs: Rebased CSIRO forecasts applying March 2023 actuals from VFACTS and minor revisions in PHEV forecasts to incorporate stakeholder feedback.
Build limits - PHES: Adjusted limits in QLD, NSW and SA to accommodate announced projects in July 2023 Generation Information, and removed QEJP - Borumba and QEJP - Pioneer-Burdekin categories
Capacity Factors: Updated to include 2022-23 reference year
Retirement: Updated based on July 2023 GenInfo and QEJP report.
Emissions Intensity: Removed Liddell Power Station and QEJP projects, updated to latest CER data.
Build costs: Updated with Final 2023 CSIRO GenCost
Financial parameters: Updated with latest discount rates and values of customer reliability.
Non-REZ Assumptions: Update to N0 and V0 land area. Inclusion of MW land use limits for wind and solar. Update of Resource Limit violation penalty factor to 1.0 $M/MW.
Build Costs - PEM: Updated based on Final CSIRO GenCost 2022-23
Renewable Energy Zone: Updated the REZ/Cost Zone maps offshore boundaries as per Federal Government announcements. Added the new NSW N12 REZ.
Network representation: Updated SESA-CSA
Network losses: Loss equations and footnotes updated as per new equations.
Network Capability: Updated as per the 2023 Transmission Expansion Options Report
Augmentation Options: Updated as per the 2023 Transmission Expansion Options Report
Connection Cost: Inclusion of additional REZs(N12) to tables. Update System Strength remediation cost from the updated Transmission Cost Database
REZ Augmentation Options: Updated as per the 2023 Transmission Expansion Options Report
Build Limits: Updated the Indicative transmission expansion cost ($M/MW)2; Added land use limits in MW for all scenarios; Updated REZ transmission modifiers due to committed and anticipated network augmentations table; Updated REZ Group Constraints Summary; Updated REZ Transmission Limit Constraint Summary
Non-REZ Assumptions: Added the land use limits in MW and updated the land area. Updated the total cost and System Strength Remediation costs
Power System Constraints: No updates since draft IASR
Marginal Loss Factors: Updated the tables with the updated shadow connection points, and updated MLF.
Added Kogan Gas and SA Hydrogen Turbine
5.1 | 2023-08-07 | Flow path augmentation options; Flow path costs forecast: Updated CQ-SQ Option 5 cost estimate and easement length to align with v1.1 of 2023 Transmission Expansion Options Report, and adjusted forecast accordingly; Corrected cost estimate class for Humelink.
REZ augmentation options; REZ costs forecast: Updated REZ Q2 Option 1 cost estimate to remove inclusion of Guybal Munjan substation, and adjusted forecast accordingly.
Network capability: Updated CNSW-SNW representation to include both northern and southern limits; Updated the list of committed and anticipated projects to align with July 2023 Transmission Augmentation Information page.
Auxiliary: Changed the new entrant wind auxiliary from 0% to 0.07%
Marginal Loss Factors: Aligned Kogan Gas MLF from 0.9764 to 0.9673, similar to Kogan Creek.
Fixed OPEX: Changed the Fixed OPEX for existing pumped hydro from $17.77 to $19.09, Cell D75 of sheet.
Summary Mapping: Changed subregion of Eraring Big Battery from CNSW to SNW
H2 GPG_emissions reduction: Added additional tab (H2 GPG_emissions reduction) for gas fired generation emissions reduction factor from hydrogen for Kogan Gas (Brigalow/Kogan Creek in Queensland) and SA Hydrogen Turbine (Whyalla in SA).
Max Capacity: Changed the commissioning date for Kogan Gas to 1/7/2026 and SA Hydrogen Turbine to 1/12/2025.
Summary Mapping, Fuel Price Summary, Emissions intensity: Updated relevant entries for Kogan Gas and SA Hydrogen Turbines in Summary Mapping, Fuel Price Summary, Emissions intensity tabs to account for hydrogen blending.
5.2 | 2023-09-05 | Carbon Budgets: Updated Victoria's carbon budget to use consistent treatment of calendar dates with other constraints such as RETs. Previous carbon budget assumed the targets for calendar years 2025 and 2030 were met in financial year-ending (FYE) 2026 and 2036; this has been modified to be FYE 2025 and 2035.
DSP: Full forecast to 2054 added for the three scenarios
Energy efficiency: Updated Business sector forecasts for Reduced Energy Efficiency Sensitivity
Electrification: Updated forecasts for Electrification Alternatives Sensitivity
Maximum capacity: A small subset of committed* and anticipated projects that have Full Commercial Use Date (FCUD) before 1 July 2025 had their commissioning dates shifted to 1 July 2025. This has now been corrected to reflect commissioning date at FCUD instead in line with approached described in the Final IASR.
Seasonal ratings: Updated ratings of certain committed* and anticipated projects, as discussed in the Maximum capacity log update above.
Generator reliability settings: Deleted QEJP objects as separate new entrant items, in line with the approach laid out in the 2023 IASR
Locational cost factors: Deleted QEJP objects as separate new entrant items, in line with the approach laid out in the 2023 IASR
Retirement dates: A small subset of new committed and anticipated projects had erroneous expected retirement years. This has now been corrected by applying the methodology discussed in the Retirement tab, where generators without an announced retirement date are given a retirement date of X years past the station’s commissioning date, where X is the technical life of that technology.
Auxiliary: Mapped new entrant offshore wind values to onshore wind.
Summary Mapping: Corrected the zone Eraring Big Battery is in to SNW.
Flow path augmentation options: Updated easement lengths for SQ-CQ (Option 1), VIC-SNSW (VNI-West), CNSW-SNW (Option 2), SNSW-CNSW (Humelink) , CNSW-SNW (Option 3), TAS-VIC (Marinus Link Stage 1 & 2) to align with v1.2 of 2023 Transmission Expansion Options Report; Updated cost estimate for SQ-CQ (Option 1) to align with v1.2 of 2023 Transmission Expansion Options Report.
Flow path costs forecast: Updated cost forecast for SQ-CQ (Option 1) to align with cost estimate for v1.2 of 2023 Transmission Expansion Options Report. Corrected the cost forecast for Marinus Link Stage 1 to reflect June 2023 dollar value.
Renewable Energy Zones: Updated the N11 offshore maps based on Department of Climate Change, Energy, the Environment and Water publication dated 14 August 2023 (Notice of proposal to declare an area in the Illawarra); Corrected REZ Q9 to be located within the CQ sub-region.
REZ Augmentations options: Corrected the easement lengths for NQ2 (Option 1) & South West Victoria (Option 1A), T2 (Option 1); Corrected SEVIC expansion cost to align with v1.2 of the 2023 Transmission Expansion Options Report; Removed system strength costs from T2, T3 & V2 as they are covered in connection costs. Updated cost estimate to reflect the updated route length for T2 (Option 1). Corrected the cost estimate for T3 (Option 1 with Marinus and without Marinus) to reflect new easement length consistent with v1.2 of the 2023 Transmission Expansion Options Report.
Summary Mapping: Updated the subregion location for Mr Mercer, Swanbank, Waratah Super Battery, Tailem Bend Solar Stage 1 & 2 and Tailem Bend Battery
Build Limits: Updated the offshore resource output for fixed and floating wind output for N11 to reflect update from Department of Climate Change, Energy, the Environment and Water publication dated 14 August 2023 (Notice of proposal to declare an area in the Illawarra).
Marginal Loss Factors: Corrected the Generic new entrant units ( NE_CSA, REZ V7_Wind & REZ_T4_Wind) MLFs and their shadow connection points.
REZ Cost forecast: Added cost forecast for South West NSW (Option 1). Updated T2 ( Option 1) cost forecast to align with the updated total cost estimate. Updated T3 (Option 1 with Marinus and without Marinus) cost forecast to align with updated new easement length value in v1.2 of the Transmission Expansion Options Report.
New Entrant Data Summary: Corrected the formula for Fuel Cost column to point to the correct fuel price.
Summary Mapping: corrected Snapper Point fuel type to gas, and auxiliary category to OCGT
5.3 | 2023-12-15 | Seasonal Ratings: corrected ratings for Mt. Piper unit 2 and Darling Downs units
Renewable Energy Zones: Updated the boundaries for North East Tasmania offshore REZ in the REZ Map and Regional Cost Zone Map (based on Federal Government announcement 23 October 2023 (https://www.dcceew.gov.au/energy/renewable/offshore-wind/areas/bass-strait), Noted a clarification that the AEMO KML map files have not yet been updated as this is subject to consultation. ; Added clarification note for the Regional Locational map explaining that "High" costs were assigned for Draft 2022 ISP onwards for Central North VIC REZ V6 based on feedback on the 2020 IASR and Draft 2020 ISP.
Network Capability: Added a note for SNSW-CNSW & VIC-SNSW to clarify that the 660 MW limit for Snowy 2.0 is applicable for the existing network, and explaining that the full capacity of 2,200 MW becomes available when HumeLink is in service; Added a note for some committed and anticipated project timings to clarify where the modelled service date is different to the project proponents' latest public advice.
Flow Path Augmentation options: Added a note to include in CQ-NQ option 2 the additional capacity of NQ2 of 3000 MW to align with 2023 Transmission Expansion Options report; Added note to SQ-CQ option 5 augmentation to provide clarity that Borumba pumped hydro generation capacity has access through this augmentation; Added note to Humelink augmentation (SNSW-CNSW) to provide clarity that Snowy 2.0 generation capacity is unlocked through Humelink augmentation; Added note to Project Marinus Stage 1 and Stage 2, Humelink and Gladstone Grid Reinforcement to note that the earliest in service date modelled differs slightly from the latest public proponent date which is reported in AEMO's December 2023 Transmission Augmentation Information page; Added latest costs for Project Marinus Stage 1 and Stage 2 as advised by project proponents; Added note clarifying that Humelink is a pre-requisite to for VNI West, consistent with latest VNI West design. Updated "footnote 4" to clarify that generator capabilities relating to the Project Marinus Stage 1 transfer level include non-scheduled generation.
Flow Path costs forecast: Revised Project Marinus Stage 1 and Stage 2 cost forecast consistent with proponents' updated costs.
Connection cost: Added Gippsland Coast (V7) connection costs to represent connection of offshore wind of this REZ as a connection cost rater than a network augmentation cost, consistent with jurisdictional planning body and government advice.
Connection Costs forecast: Updated Gippsland Coast (V7) cost forecast to reflect the connection cost updated note above.
REZ Augmentations Options: Updated Central West Orana REZ Transmission Link scope to align with latest advice from project proponent, including noting relationship with Hunter Transmission Project; Added a note to N3 option 1 to clarify that REZ network capacity is limited to 6 GW to align with the New South Wales Network Infrastructure Strategy; Corrected MN1 Option 4 description to align with 2023 Transmission Expansion Options Report; Updated North West Tasmania (T2) option 1 as per advise from project proponent.
Build Limits: Revised Tranche 2 transmission expansion cost for N3 Central West Orana from 0.08 to 0.16 to reflect updated scope and alignment with the New South Wales Network Infrastructure Strategy; Updated Hunter-Central Coast indicative transmission expansion cost to reflect lower cost as option 2 was considered for the modelling purposes; Removed Gippsland Coast ( V7) expansion costs as it is included in the "Connection Cost" tab; Updated the transmission expansion cost ($/MW) value for Leigh Creek REZ (S6) to a higher value to reflect cost for smaller option; Revised North West Tasmania (T2) transmission expansion cost to reflect updated scope advice from project proponent; Corrected REZ group constraint SWV1 to include a negative sign for Heywood Interconnector to make flow from SA-VIC have the same impact as generation in V8 and V4.
Hydrogen export ports: Updated the boundaries for North East Tasmania offshore REZ in the Candidate hydrogen export ports and REZs map(based on Federal Government announcement 23 October 2023 (https://www.dcceew.gov.au/energy/renewable/offshore-wind/areas/bass-strait); Noted a clarification that the AEMO KML map files have not yet been updated as this is subject to consultation.
Energy Policy Targets: Revised start year of the Victorian offshore wind targets from 2028-29 to 2030-31.
Maximum capacity: Changed footnote on generator capacity adjustments where MarinusLink is built to reflect an increase of 50 MW.
Seasonal ratings: Corrected the summer peak ratings for Bango 973 Wind Farm, Bango 999 Wind Farm, Canunda, Cathedral Rocks, Crudine Ridge Wind Farm, Mt Gellibrand Wind Farm, Mt Mercer Wind Farm, White Rock Wind Farm - Stage 1 and Willogoleche Wind Farm.
Summary Mapping: Updated fuel mapping for Kurri Kurri and Tallawarra B
6 | 2024-07-19 | Renewable Energy Zones: Updated the REZ/Cost Zone maps offshore boundaries for Southern Ocean (V8) as per Federal Government announcements in March 2024 (https://www.dcceew.gov.au/energy/renewable/offshore-wind/areas/southern-ocean-region).
Energy Policy Targets: Modified Powering Australia Plan trajectory to match 2024 ISP, added Capacity Investment Scheme constraints.
Carbon Budgets: Added Queensland carbon budgets, modified NSW carbon budgets to account for the 2035 target.
Aggregated energy storages: Corrected MW and MWh forecasts for Aggregated energy storages to be on a consistent basis with reporting for Embedded energy storages. Note that the 2024 Integrated System Plan used the Aggregated energy storage forecasts from version 5.3 of this workbook published in December 2023, however differences between those forecasts and the updated forecasts are not expected to have a material impact on modelling outcomes.
Network Representation: Corrected definition of load and generation in Sydney, Newcastle and Wollongong sub-region to add Avon and Dapto, and in Central New South Wales sub-region to remove Avon and Dapto.
Network losses: Updated NSW-VIC loss equations and Basslink MLF to reflect the updated publication from AEMO: "Marginal Loss Factors: Financial Year 2023-24".
Network Capability: Basslink transfer limits updated as advised by APA, including removal of temperature-dependent ratings and addition of energy throughput limits table; Committed and anticipated projects’ timing updated to align with 2024 ISP modelling and latest information from project proponents.
Flow path augmentation options: Updated Tasmania to Victoria combined transfer capability to account for Basslink dynamic capability as advised by APA; Updated easement length for HVAC component of Project Marinus to reflect the proposed scope and staging of the North West Transmission Developments project as advised by TasNetworks; Added note to account for an increased cost of Project Marinus Stage 2 if completed in more than 2 years after Stage 1; Added note to clarify the amount of grant funding available for Project Marinus; Updated scope, cost, and timing for CNSW-SNW Option 1 (advised by EnergyCo); Updated scope and cost for CNSW-SNW Option 2b (advised by Transgrid); Added new CNSW-SNW Option 2d (advised by Transgrid).
Flow Path costs forecast: Updated cost forecast for Project Marinus across all scenarios to align with the revised earliest in-service date (December 2030 for Stage 1 and December 2032 for Stage 2) provided by Marinus Link Pty Ltd in November 2023; Updated cost forecasts for CNSW-SNW Options 1, 2b and 2d to reflect cost updates noted in flow path augmentation options tab.
Maximum Capacity: Updated based on February 2024 Generation Information report and additional projects from policies.
Seasonal ratings: Updated based on February 2024 Generation Information and additional projects from policies
REZ Augmentation Options: South East Victoria Option 1 updated as advised by AEMO Victorian Planning (AVP); Updated scope, cost and timing for the group constraint MN1 S3 Option 1, S3 Option 1a and S3 Option 1b (advised by ElectraNet); Updated scope of N2 Option 1 (advised by EnergyCo).
REZ Cost forecast: Added cost forecast for MN1 Option 1, Option 1a and Option 1b for all scenarios, to align with updated options advised by ElectraNet.
Build Limits: Initial South West Victoria group constraint limit changed to 1,850 MW, and increase following Mortlake turn in updated to 1,100 MW (as advised by AEMO Victorian Planning); Southern Ocean (V8) offshore build limits decreased to 780 MW for offshore fixed and to 3,330MW for offshore floating to align with updated declared area by Federal Government on 6th March 2024 (https://www.dcceew.gov.au/energy/renewable/offshore-wind/areas/southern-ocean-region); Updated North Tasmania Coast (T4) offshore build limits to account for the boundary declaration based on Federal Government announcement 23 October 2023 (https://www.dcceew.gov.au/energy/renewable/offshore-wind/areas/bass-strait); Updated SWNSW1 RHS Limit from 550 MW to 940 MW based on advice from Transgrid in order to reflect finalised non-network RIT-T outcomes; Additional note clarifying basis of offshore wind capacities modelled for the Illawarra offshore REZ as per declared area by Federal Government on the 15th June 2024 (https://www.dcceew.gov.au/energy/renewable/offshore-wind/areas/illawarra); Change of MN1 RHS limit from 2,400 MW to 2,000 MW as advised by ElectraNet; Change of indicative transmission expansion cost ($M/MW) for MN1 from 0.46 to 0.33$M/MW due to updated options as advised by ElectraNet; Second tranche cost applied for MN1 to expand beyond 1,200 MW to reflect $ 0.29 M/MW to align with new options provided by ElectraNet; Inclusion of new MN1 and NSA1 northerly flow group constraints to reflect load in the MN1 and NSA1 region accordingly.
Retirement: Updated based on February 2024 Generation Information report and additional projects from policies
Marginal Loss Factors: Updated based on February 2024 Generation Information Reports and additional projects from policies.
Hydrogen demand exports and steel: updated electricity for green steel based on data received from industry survey.
Hydrogen export ports: Updated the boundaries for Southern Ocean (V8) offshore REZ in the Candidate hydrogen export ports and REZs map (based on Federal Government announcement in March 2024 https://www.dcceew.gov.au/energy/renewable/offshore-wind/areas/southern-ocean-region)
Summary Mapping: Updated based on February 2024 Generation Information and additional projects from policies.

## Assumptions Summary
2023-24 Modelling Assumptions
This file presents tables of input data for 2023-24 market modelling studies. It is a compilation of data from a number of sources, listed below.
All values in this workbook are as at 30 June 2023 real dollars except were explicitly noted otherwise.
Version History
Version Number | Date | Description
1 | 2019-02-05 | First industry release of draft 2019 market modelling assumptions for consultation.
1.1 | 2019-09-03 | Updates based on 2019 Consultation feedback, updated information from stakeholders and 2019 forecasting components.
1.2 | 2019-09-13 | Revisions based on feedback from publication of 1.1
1.3 | 2019-12-12 | Issued to accompany Draft ISP publication
1.4 | 2020-04-17 | Updates following Draft ISP publication feedback
1.5 | 2020-07-30 | Issued to accompany 2020 ISP publication
2 | 2020-09-01 | Issued to accompany 2020 ESOO
2.1 | 2020-11-27 | Revisions to 2020 ESOO assumptions - error corrections and clarifications
2.2 | 2020-12-11 | Revisions to 2020 ESOO assumptions - error corrections and clarifications
3 | 2020-12-11 | Issued to accompany Draft 2021 IASR
3.1 | 2021-07-31 | Released to accompany the release of the Final 2021 IASR Report
3.2 | 2021-08-10 | Minor corrections of prior release.
3.3 | 2021-12-10 | Issued to accompany Draft 2022 ISP publication
3.4 | 2022-06-30 | Issued to accompany Final 2022 ISP publication
3.5 | 2022-08-31 | Issued to accompany 2022 ESOO
4 | 2022-12-16 | Issued to accompany Draft 2023 IASR publication
5 | 2023-07-28 | 2023 IASR Assumptions Workbook
5.1 | 2023-08-07 | Minor corrections of prior release.
5.2 | 2023-09-05 | Minor updates of prior release.
5.3 | 2023-12-15 | Minor updates of prior release.
6 | 2024-07-19 | 2024 ISP Assumptions Workbook
Worksheet Descriptions
Worksheet | Assumptions Grouping | Description | Source
Scenarios | Scenario and REZ settings | Summary of scenario dimensions and parameters | AEMO
Renewable Energy Zones |  | Renewable Energy Zones | AEMO
Existing Gen Data Summary | Summaries | Summary (calculated) of the generator technical data | Calculated data
New Entrant Data Summary |  | Summary (calculated) of the new entrant's technical data
Fuel Price Summary |  | Summary (calculated) of generator fuel costs
Regional Build Costs Summary |  | Summary (calculated) of regional build costs for a selectable scenario / technology.
Summary Mapping |  | Master Look up table for generator and storage assets
Energy Policy Targets | Policy settings | Target renewable settings for the Queensland, Victorian,Tasmanian and New South Wales Renewable Energy Targets | Queensland public policy documents, Victorian, Tasmanian and New South Wales legislation
Carbon Budgets |  | Global mean temperature increases by 2100 aligned with each scenario, and cumulative carbon budgets over the period to 2050. | CSIRO/CWA Multi-sector energy modelling (2022)
Demand and Energy Forecasts | Demand | Electricity consumption forecasts | AEMO forecasts (ESOO 2022), BIS Oxford Economics, 2022 Macroeconomic projections report, CSIRO DER and EV and GEM DER forecasts (2022), CSIRO/CWA Multi-sector energy modelling (2022), CSIRO, 2022 Electric Vehicles Forecasts Report
Economic Growth Forecasts |  | Forecast of broader economic growth (GSP)
Energy Efficiency |  | Forecast of energy efficiency impact on annual consumption forecasts
Rooftop PV |  | Rooftop PV capacity and generation forecast
PVNSG |  | PV non-scheduled generation (PVNSG) capacity and generation forecast
DSP |  | Demand side participation forecast
Battery & Plug-in EVs |  | Battery and plug-in electric vehicles uptake, energy, and charge profile forecast
EV V2G |  | Vehicle to Grid battery characteristics
Fuel cell EVs |  | Fuel cell electric vehicles uptake
Electrification |  | Electrification in all sectors including transportation
Embedded energy storages |  | Embedded consumer energy storage (battery) forecast
Aggregated energy storages |  | The 'aggregated' share of embedded energy storages that is modelled like a Virtual Power Plant (VPP).
Sub-regional demand allocation |  | Details of the sub-regional allocation of CER components.
Network Representation | Interconnector and transmission settings | Description of how the network is modelled in the capacity expansion models. | AEMO (Following consultation on IASR)
Network Capability |  | Maximum forward and reverse flow path capability for capacity expansion modelling. | AEMO (Review by TNSPs and consultation via IASR) AEMO NEM public data
Network losses |  | Proportion of interconnector losses applied to regional reference nodes and loss equations. | Marginal Loss Factors: Financial Year 2023-24
Flow Path Augmentation options |  | Capability, cost and timing for flow path augmentation options. | AEMO (Following consultation on IASR and Transmission Cost Report)
Transmission Reliability |  | Defines the outage rates modelled to key flowpaths in the ESOO. | AEMO internal study
Connection Costs forecast | Transmission costs forecasts | Forecast of transmission connection cost | AEMO internal study
REZ Costs forecast |  | Forecast of REZ augmentation cost | AEMO internal study
Flow Path costs forecast |  | Forecast of transmission flow path cost | AEMO internal study
Maximum capacity | Generator reliability settings | Installed capacity of existing, committed and anticipated generators. | AEMO Generation Information (July 2023 release)
Seasonal ratings |  | Winter and summer ratings for existing, committed, advanced and new entrant generators | AEMO Generation Information (July 2023 release), GHD, 2018 AEMO costs and technical parameter review, Aurecon, 2022 AEMO costs and technical parameter review,
Reserves |  | Minimum reserve levels for reliable regional supply | AEMO Generation Information (July 2023 release)
Generation limits |  | Generator operating limits | AEMO internal study, Aurecon, 2022 AEMO costs and technical parameter review
Maintenance |  | The percentage of time per year that a generator is expected to be out of service for maintenance. De-rating applied to generators under maintenance, staged construction or to track age-related degradation | GHD, 2018 AEMO costs and technical parameter review, Aurecon, 2022 AEMO costs and technical parameter review, AEMO Internal study
Generator Reliability Settings |  | Defines a generators' forced outage rate, mean time to repair after an outage, and the derating experienced during a partial outage | GHD, 2018 AEMO costs and technical parameter review, Aurecon, 2022 AEMO costs and technical parameter review, AEMO Internal study, AEMO data (ESOO 2022)
Hydro Climate Factor |  | Hydro inflow adjustments to capture climate risks | AEMO internal study; BoM & CSIRO: Electricity Sector Climate Information Project
Hydro Scheme Inflows |  | Monthly aggregated inflow trends for reference years | AEMO internal study and Hydro operators
Build costs | Generator technical and financial settings | Capital Cost projections for new entrant generators | Entura, 2018, Pumped hydro cost modelling CSIRO, GenCost 2022-23
Locational Cost Factors |  | Locational cost factors provide an indication of the variation in new entrants generators cost based on the shift in labour, equipment and shipping/delivery cost between regions. | GHD, 2018 AEMO costs and technical parameter review, Aurecon, 2022 AEMO costs and technical parameter review, AEMO Internal study
Connection cost |  | Cost to connect different generation technologies. | AEMO internal study
Build limits |  | Modelled limitations impacting build constraints within the expansion modelling | AEMO internal study
Build limits - PHES |  | Modelled limitations for PHES impacting build constraints within the expansion modelling | Entura, 2018, Pumped hydro cost modelling, AEMO internal study
REZ Augmentations Options |  | Capability, cost and timing for REZ augmentation options. | AEMO internal study AEMO, 2021 Transmission Cost Report
Non-REZ Assumptions |  | Summary of assumptions for non-rez locations | AEMO internal study
Power System Constraints |  | Reflect power system constraints to reflect secure operating limits | AEMO internal study
Capacity Factors |  | Capacity factors for renewable generators in the renewable energy zones | DNVGL, AEMO analysis outcomes
Lead time and project life |  | Modelled limitations impacting build timings within the expansion modelling | GHD, 2018 AEMO costs and technical parameter review, Aurecon, 2022 AEMO costs and technical parameter review, Hydro Tas, for pumped hydro economic life.
Financial parameters |  | Financial parameters (discount rate, weighted average cost of capital, value of customer reliability) used during cost benefit analysis | AEMO internal analysis, AER Rate of return - Annual Update - December 2020 AER, Values of Customer Reliability, December 2019 Synergies Economic Consulting, Updating the 2022 ISP Discount rate Oxford Economics Australia, Cost of Capital Survey 2023
Storage properties |  | Battery storage to power ratio and round-trip efficiency | Aurecon, 2022 AEMO costs and technical parameter review, CSIRO, Small-scale solar and battery projections 2022, Snowy Hydro Hydro Tasmania QLD QEJP, Queensland SuperGrid Infrastructure Blueprint Kidston Pumped Storage Hydro Project Financial Close Report August 2021
Coal and Biomass price |  | Coal fuel price for each coal generator | Wood Mackenzie, 2021 Coal price forecast, Oxford Economics Australia, 2022-23 Commodities Scenario Forecasts Report, AEMO internal study
Gas, Liquid fuel, H2 price |  | Fuel price for each gas and liquid fuel generator | ACIL Allen, 2023 Gas Price Forecasts, ACIL Allen, 2014 liquid fuel and technical cost review, Multi-sector Modelling, 2022 CSIRO/CWA
Retirement |  | Announced and end-of-technical-life generator retirement | AEMO Generation Information (July 2023 release), GHD, 2018 AEMO costs and technical parameter review, Aurecon, 2022 AEMO costs and technical parameter review QEJP, 2022 Queensland SuperGrid Infrastructure Blueprint
Heat rates |  | Efficiency of conversion of fuel to output for thermal generators | GHD, 2018 AEMO costs and technical parameter review, Aurecon, 2022 AEMO costs and technical parameter review
Auxiliary |  | Auxiliary (self) load for each generator or generator class | Aurecon, 2022 AEMO costs and technical parameter review, Hydro Tasmania, AEMO Internal study
Fixed OPEX |  | Fixed operating cost regardless of output for each generator or generator class | GHD, 2018 AEMO costs and technical parameter review, Aurecon, 2022 AEMO costs and technical parameter review, Entura, 2018 Pumped hydro cost modelling, Generator owner provided inputs
Variable OPEX |  | Variable operating cost per MWh of output for each generator or generator class | GHD, 2018 AEMO costs and technical parameter review, Aurecon, 2022 AEMO costs and technical parameter review, Generator owner provided inputs
Emissions intensity |  | Emissions production per MWh of output for each generator or generator class | CER - Greenhouse and energy information by designated generation facility 2021-22, GHD, 2018 AEMO costs and technical parameter review, Aurecon, 2022 AEMO Costs and Technical Parameter Review, DCCEEW, 2022 Australian National Greenhouse Accounts Factors, AEMO Internal study
H2 GPG_emissions reduction |  | Factors projecting emissions reduction from GPG due to blending of hydrogen | CSIRO/CWA Multi-sector energy modelling (2022), AEMO internal study
GPG emissions reduction - BioM |  | Factors projecting emissions reduction from GPG due to blending of biomethane into fuel gas | CSIRO/CWA Multi-sector energy modelling (2022), AEMO internal study
Marginal Loss Factors |  | Marginal loss factors for each generator | Regions and Marginal Loss Factors: FY 2022-23 (2022 July release)
Affine Heat Rates | ST model properties | Heat rate curves for large thermal units | GHD, 2018 AEMO costs and technical parameter review, Aurecon, 2022 AEMO costs and technical parameter review, AEMO Internal study
Max Ramp Rates |  | Maximum rates of change for thermal unit output up and down | GHD, 2018 AEMO costs and technical parameter review, Aurecon, 2022 AEMO Costs and Technical Parameter Review, AEMO Internal study
CCGT Unit Max Capacity |  | Maximum capacity of CCGT gas and steam turbines | AEMO Generation Information (July 2022 release)
GPG Min Stable Level |  | Minimum operating levels for large GPG units | Aurecon, 2022 AEMO Costs and Technical Parameter Review, AEMO Internal study
Min Up&Down Times |  | Minimum time online or offline for large GPG units | ACIL Allen, 2014 AEMO Fuel and Technology Cost Review, AEMO internal study
Costs Summary - PEM | Hydrogen properties | Locational cost factors for each cost region and regional cost summary for hydrogen technologies | Aurecon, 2022 AEMO costs and technical parameter review, GHD, 2018 AEMO costs and technical parameter review.
Build Costs - PEM |  | Costs to construct various hydrogen technologies | Aurecon, 2022 AEMO costs and technical parameter review, CSIRO, GenCost 2022-23
Hydrogen demand - Domestic |  | Projections of domestic hydrogen demand | CSIRO/CWA Multi-sector energy modelling (2022), Stakeholder engagement, including a targeted hydrogen workshop on Friday 18/09/2020
Hydrogen monthly profiles |  | Projections of monthly profiles of domestic hydrogen demand | CSIRO/CWA Multi-sector energy modelling (2022), AEMO internal study
Hydrogen demand_Export&Steel |  | Projections of demand for export hydrogen and green steel production | CSIRO/CWA Multi-sector energy modelling (2022)), Stakeholder engagement, including a targeted hydrogen workshop on Friday 18/09/2020
Hydrogen export ports |  | Location of hydrogen export ports for the Hydrogen Export scenario | ARUP, 2019, Australian Hydrogen Hubs Study, AEMO internal study
Other hydrogen assumptions |  | Various hydrogen-related assumptions | Aurecon, 2021-22 and 2022 AEMO costs and technical parameter review, CSIRO, National Hydrogen Roadmap (2018), Kopp et al. (2017), Energiepark Mainz: Technical and economic analysis of the worldwide largest Power-to-Gas plant with PEM electrolysis, Stakeholder engagement
Supporting Materials
Source | Materials
Aurecon, 2022 AEMO Costs and Technical Parameter Review | https://aemo.com.au/consultations/current-and-closed-consultations/2023-inputs-assumptions-and-scenarios
BIS Oxford Economics, 2022 Macroeconomic Projections Report
BIS Oxford Economics, 2022 Commodities Scenario Forecast Report
CSIRO, Draft GenCost 2022-23 Report
CSIRO, 2022 Electric Vehicle Projections Report
CSIRO/CWA, Multi-sector energy modelling (2022)
CSIRO, 2022 Solar PV and Battery Projections Report
Entura, 2018 Pumped hydro cost modelling
GEM, 2022 Solar PV and Battery Projections Report
Lewis Grey Advisory, 2023 gas price projections
Synergies Economic Consulting, 2021 Discount Rate report
Synergies Economic Consulting, Updating the 2022 ISP Discount Rate
AEMO, Generator information (November 2022 release) | https://www.aemo.com.au/energy-systems/electricity/national-electricity-market-nem/nem-forecasting-and-planning/forecasting-and-planning-data/generation-information
AEMO, Transmission Cost Database | https://aemo.com.au/consultations/current-and-closed-consultations/2023-transmission-expansion-options-report-consultation
AEMO, 2023 Transmission Expansion Options Report | https://aemo.com.au/consultations/current-and-closed-consultations/2023-transmission-expansion-options-report-consultation
ACIL Allen, 2014 Fuel and Technology Cost Review | https://aemo.com.au/-/media/files/electricity/nem/planning_and_forecasting/ntndp/2014/data-sources/fuel_and_technology_cost_review_report_acil_allen.pdf
AEMO, 2020 GSOO stakeholder surveys and gas supply input data | 2020 Gas Statement of Opportunities supply input data files. Available at: https://www.aemo.com.au/-/media/files/gas/national_planning_and_forecasting/gsoo/2020/2020-gsoo-supply-input-data-files.zip?la=en
AEP Elical, 2020 Assessment of Ageing Coal-Fired Generation Reliability | https://aemo.com.au/-/media/files/electricity/nem/planning_and_forecasting/inputs-assumptions-methodologies/2020/aep-elical-assessment-of-ageing-coal-fired-generation-reliability.pdf?la=en
CSIRO, 2018 National Hydrogen Roadmap, Pathways to an economically sustainable hydrogen industry in Australia | https://www.csiro.au/en/Showcase/Hydrogen
Energiepark Mainz, 2017 Technical and economic analysis of the worldwide largest Power-to-Gas plant with PEM electrolysis | https://doi.org/10.1016/j.ijhydene.2016.12.145
GHD, 2018 AEMO costs and technical parameter review | https://www.aemo.com.au/consultations/current-and-closed-consultations/2021-Planning-and-Forecasting-Consultation-on-Inputs-Assumptions-and-Scenarios
Powerlink, Prepatory Activities | https://aemo.com.au/en/energy-systems/major-publications/integrated-system-plan-isp/2022-integrated-system-plan-isp/current-inputs-assumptions-and-scenarios
Wood Mackenzie, 2021 Coal Cost Report | https://aemo.com.au/-/media/files/electricity/nem/planning_and_forecasting/isp/2021/wood-mackenzie-2021-final-coal-price-forecast.pdf?la=en

## Scenarios
Go to Assumptions Summary
Summary of scenario parameters
Summary of parameters for scenarios in the 2023 IASR and 2024 ISP.
Parameter | Green Energy Exports | Step Change | Progressive Change
National decarbonisation targets
National Decarbonisation target | At least 43% emissions reduction by 2030.​ Net zero by 2050. | At least 43% emissions reduction by 2030.​ Net zero by 2050. | 43% emissions reduction by 2030.​ Net zero by 2050.
Demand drivers
Global economic growth and policy coordination​ | High economic growth, stronger coordination​ | Moderate economic growth, stronger coordination​ | Slower economic growth, lesser coordination​
Australian economic and demographic drivers​ | Higher (partly driven by green energy)​ | Moderate​ | Lower​
Energy Efficiency | Higher​ | Moderate | Lower​
Consumer engagement​ e.g. VPP and DSP uptake | Higher​ | High (VPP) and Moderate (DSP) | Lower​
CER uptake
CER uptake (i.e. batteries, PV and EVs)​ | Higher​ | High | Lower​
Hydrogen and Biomethane
Hydrogen​ use | Faster cost reduction. High production for domestic and export use | Medium-Low production for domestic use, with minimal export hydrogen. | Low production for domestic use, with no export hydrogen.
Hydrogen blending in gas distribution network * | Up to 10% vol | Up to 10% vol | Up to 10% vol
Biomethane/ synthetic methane | Allowed, but no specific targets to introduce it | Allowed, but no specific targets to introduce it | Allowed, but no specific targets to introduce it
Scenario alignment
Global/domestic temperature settings and outcomes | Applies RCP 1.9 where relevant (~ 1.5°C) | Applies RCP 2.6 where relevant (~ 1.8°C) | Applies RCP 4.5 where relevant (~ 2.6°C)
IEA 2021 World Energy Outlook scenario | Net Zero by 2050 (NZE) | Sustainable Development Scenario (SDS) | Stated Policy Scenario (STEPS)
Build cost trajectories
Generator and storage build costs | CSIRO GenCost NZE by 2050 | CSIRO GenCost NZE post 2050 | CSIRO GenCost Current Policies
Fuel price settings
Gas prices | ACIL Allen (2023), Green Energy Exports | ACIL Allen (2023), Step Change | ACIL Allen (2023), Progressive Change
Coal prices | Wood Mackenzie (2021) & Oxford Economics Australia (2022): Low price | Wood Mackenzie (2021) & Oxford Economics Australia (2022): Central | Wood Mackenzie (2021) & Oxford Economics Australia (2022): High price
Gas Market Settings **
New gas supplies | As forecast in AEMO's 2023 GSOO
All other gas market settings | Consistent with AEMO's 2023 GSOO Green Energy Exports scenario | Consistent with AEMO's 2023 GSOO Orchestrated Step Change scenario | Consistent with AEMO's 2023 GSOO Progressive Change scenario
* Hydrogen blending into the gas distribution network will need to accommodate the technical requirements of distribution pipelines, as well as the capabilities of connected gas appliances.
** Gas Market Settings will be updated in March 2024 for the 2024 GSOO.
360
290
650
540

## Renewable Energy Zones
Go to Assumptions Summary
Candidate Renewable Energy Zones | [5 empty] | Renewable Energy Zone Map | NEM Regional Cost Zone Map
List of Candidate Renewable Energy Zones (REZs) by NEM region and zone
Build cost at each REZ that reflects the NEM regional cost zone map
A KMZ file with the REZ boundaries is available at https://aemo.com.au/consultations/current-and-closed-consultations/2023-inputs-assumptions-and-scenarios
ID | Name | NEM Region | NTNDP Zone | ISP Sub-region | Regional Cost Zones
Q1 | Far North QLD | QLD | NQ | NQ | Low1
Q2 | North Qld Clean Energy Hub | QLD | NQ | NQ | Low1
Q3 | Northern Qld | QLD | NQ | NQ | Low
Q4 | Isaac | QLD | NQ | CQ | Low1
Q5 | Barcaldine | QLD | CQ | CQ | Medium
Q6 | Fitzroy | QLD | CQ | CQ | Low
Q7 | Wide Bay | QLD | CQ | SQ | Low1
Q8 | Darling Downs | QLD | SWQ | SQ | Low1
Q9 | Banana | QLD | CQ | CQ | Medium
N1 | North West NSW | NSW | NNS | NNSW | Medium
N2 | New England | NSW | NNS | NNSW | Low
N3 | Central-West Orana | NSW | NCEN | CNSW | Medium
N4 | Broken Hill | NSW | SWNSW | SNSW | High3
N5 | South West NSW | NSW | SWNSW | SNSW | High
N6 | Wagga Wagga | NSW | SWNSW | SNSW | Medium1
N7 | Tumut | NSW | CAN | SNSW | Medium
N8 | Cooma-Monaro | NSW | CAN | SNSW | Medium
N9 | Hunter-Central Coast | NSW | NCEN | CNSW | Low4
N10 | Hunter Coast | NSW | NCEN | SNW | Low
N11 | Illawarra Coast | NSW | NCEN | SNW | Low
N12 | Illawarra | NSW | NCEN | SNW | Low
V1 | Ovens Murray | VIC | NVIC | VIC | Medium2
V2 | Murray River | VIC | NVIC | VIC | Medium1
V3 | Western Victoria | VIC | CVIC | VIC | Medium2
V4 | South West Victoria | VIC | MEL | VIC | Medium2
V5 | Gippsland | VIC | LV | VIC | Low1
V6 | Central North Vic | VIC | NVIC | VIC | High
V7 | Gippsland Coast | VIC | LV | VIC | Low6
V8 | Southern Ocean | VIC | MEL | VIC | Low
S1 | South East SA | SA | SESA | SESA | Low1
S2 | Riverland | SA | NSA | CSA | Low
S3 | Mid-North SA | SA | NSA | CSA | Low1
S4 | Yorke Peninsula | SA | NSA | CSA | Low
S5 | Northern SA | SA | NSA | CSA | Medium | Note: † The REZ boundaries for N5 and N9 are indicative and aligned with the New South Wales Government’s declaration for these REZs. ‡ The Illawarra REZ was formally declared by the Minister for Energy in New South Wales on 27 February 2023 . The REZ boundaries are aligned with the indicative geographical area defined in New South Wales Department of Planning, industry and Environment publication * AEMO has aligned the boundaries for the Gippsland Coast REZ to the area published in the Commonwealth Notice of proposal to declare an area – Bass Strait off Gippsland ** The Commonwealth Government formally declared the Pacific Ocean off the Hunter as the second area suitable for developing offshore wind energy projects. AEMO has aligned the boundaries for the Hunter Coast to the area published in Offshore renewable energy infrastructure area proposal: Pacific Ocean off Hunter. *** AEMO has updated the REZ boundary for T4 in alignment with the Bass Strait, Northern Tasmania proposed offshore REZ. At: https://consult.dcceew.gov.au/oei-bass-strait. **** V8 renamed from 'Portland' to 'Southern Ocean' and boundaries updated as per Federal Government announcements in March 2024 (https://www.dcceew.gov.au/energy/renewable/offshore-wind/areas/southern-ocean-region). | Note: * Not all costs are homogenous under each category zone. Regional factors result in variances amongst each category. ** Central North VIC costs increased to "High" category based on feedback to AEMO's 2020 Draft ISP and 2020 Inputs and Assumptions Consultation. A North VIC region was previously used in AEMO's National Transmission Network Development Project (NTNDP), which is not visible on the map.
S6 | Leigh Creek | SA | NSA | CSA | Medium1
S7 | Roxby Downs | SA | NSA | CSA | Medium1
S8 | Eastern Eyre Peninsula | SA | NSA | CSA | Medium
S9 | Western Eyre Peninsula | SA | NSA | CSA | Medium
S10 | South East SA Coast | SA | SESA | SESA | Low
T1 | North East Tasmania | TAS | TAS | TAS | Low1
T2 | North West Tasmania | TAS | TAS | TAS | Medium2
T3 | Central Highlands | TAS | TAS | TAS | Low1
T4 | North Tasmania Coast | TAS | TAS | TAS | Low
Note:
1. When a REZ zone covers two regional cost zones, the lower cost zone is utilised.
2. When a REZ zone covers all three regional cost zones, the medium cost zone is utilised.
3. When a REZ zone crosses state borders, the regional cost zones from the NEM Region of the REZ are utilised.
4.A new candidate REZ – Hunter-Central Coast REZ – has been added to assess the benefits of this new zone. The REZ boundaries are aligned with the indicative geographical area defined in Schedule 1 of the draft Hunter-Central Coast REZ declaration
5. The Queensland Government released its draft REZ roadmap in July 2023, nominating 12 potential future REZs across the southern, central and northern Queenland REZs. Broadly, Northern QREZ includes Q1, Q2, Q3, Q4 and Q5; Central QREZ includes Q6, Q7 and Q9; Southern QREZ includes Q8. AEMO will engage with the Queensland Governnment as the roadmap is devleoped.
6. All offshore wind zones are specified as having a low locational cost factor. The factors which drive the different cost factors for onshore REZs are not relevant for offshore wind, where the base costs are inherently for typical offshore locations.
7. V8 'Portland' renamed to 'Southern Ocean' to align with governments' references and naming.